# Ball Valves — Product Catalog & SEO Content

Catalog Path: Valves > Ball Valves

Supplier: Ningbo HVACR Net Refrigeration Equipment Co., Ltd. (HVACR NET)

Website: www.hvacrnet.com

Contact: Echo YANG · Echo@hvacrnet.com

MOQ: 1 piece (small-batch wholesale supported)

## Product 1: DQF Series — Electric Ball Valve (Full Bore)

Meta Title: Electric Ball Valve (Full Bore, ODF) | Refrigeration

(52 chars)

Meta Description: Electric ball valve with full bore ODF connection, 3/8"–3-1/8", Kv 5.7–200, MWP 45 bar, AC/DC 24V actuator, IP54. 11 models. MOQ 1 pc.

(134 chars)

### Product Name

Electric Ball Valve — Full Bore, Brazed ODF, AC/DC 24V Actuator (DQF Series)

### Short Description

The only electrically actuated ball valve in this range, the DQF Series combines full bore flow design with automatic 90° rotation control. With 11 models covering port sizes from 3/8" to 3-1/8" and Kv values from 5.7 to 200 m³/h, it provides reliable remote shut-off for commercial and industrial refrigeration systems requiring automated flow control.

### Product Description

• Electric ball valve designed for automatic shut-off control in refrigeration, cold storage, and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and discharge lines where remote or automated flow control is required.

• Electric actuator enables automatic full-open and full-close operation; manual override is available during power failure for emergency maintenance.

• TIG welded copper valve body ensures high structural strength and corrosion resistance compatible with refrigeration environments.

• Full bore design ensures flow without pressure drop, maintaining system efficiency.

• Supplied as a complete assembly (valve body + electric actuator).

### Key Features

• Automatic full-open and full-close operation via electric actuator.

• Bidirectional flow capability — can be installed in either direction.

• Manual override available during power failure for emergency operation.

• Ultra-low operating noise (55 dB) suitable for noise-sensitive environments.

• Full bore design — flow without pressure drop.

• Only 1/4 turn (90°) from full open to full close.

• TIG welded structure ensures high structural strength.

• Anti-blowout valve stem design for operational safety.

• Modified PTFE seal for reliable long-term sealing performance.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) | Actuator Model |
| --- | --- | --- | --- |
| DQF10 | 3/8 (φ10) | 5.7 | HS/HVD24-5Q |
| DQF12 | 1/2 (φ12) | 10.6 | HS/HVD24-10Q |
| DQF16 | 5/8 (φ16) | 14.1 | HS/HVD24-10Q |
| DQF19 | 3/4 (φ19) | 20.4 | HS/HVD24-10Q |
| DQF22 | 7/8 (φ22) | 28.2 | HS/HVD24-10Q |
| DQF28 | 1-1/8 (φ28) | 52 | HS/HVD24-10Q |
| DQF35 | 1-3/8 (φ35) | 80 | HS/HVD24-20Q |
| DQF42 | 1-5/8 (φ42) | 121 | HS/HVD24-40Q |
| DQF54 | 2-1/8 (φ54) | 200 | HS/HVD24-40Q |
| DQF67 | 2-5/8 (φ67) | 200 | HS/HVD24-40Q |
| DQF79 | 3-1/8 (φ79) | 200 | HS/HVD24-40Q |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | DQF |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Connection Type | Brazed (ODF) |
| Bore Type | Full Bore |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −40 °C ~ +120 °C |
| Handle Type | Electric Actuator |
| Valve Body Material | Copper (TIG Welded) |
| Sealing Material | Modified PTFE |
| Actuator Voltage | AC/DC 24V 50/60Hz |
| Actuator Torque | 5 ~ 40 N·m |
| Rotation Angle | 90° |
| Running Time | 20 s |
| Actuator Power (Run/Standby) | 3.0 ~ 15 W / 0.5 ~ 3.0 W |
| Protection Rating | IP54 |
| Noise Level | 55 dB |
| Mounting Direction | Bidirectional flow, any direction |

## Product 2: HBC Series — Manual Ball Valve (Full Bore)

Meta Title: Manual Ball Valve (Full Bore, ODF) | Refrigeration

(50 chars)

Meta Description: Manual full bore ball valve with brazed ODF, 1/4"–3-1/8", Kv 2–700, MWP 45 bar, with/without charging port. 16 models. MOQ 1 pc.

(127 chars)

### Product Name

Manual Ball Valve — Full Bore, Brazed ODF (HBC Series)

### Short Description

Offering the widest port size range in this catalog, the HBC Series features a full bore design with TIG welded copper body and bidirectional flow capability. With 16 models covering 1/4" to 3-1/8" and Kv values up to 700 m³/h, it is available with or without a charging port for flexible system integration across commercial and industrial refrigeration applications.

### Product Description

• Manual ball valve designed for shut-off control in refrigeration, cold storage, and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and discharge lines.

• Bidirectional flow design allows installation in any direction without flow direction restriction.

• TIG welded copper valve body with full bore design ensures flow without pressure drop.

• Available with or without charging port for system service and refrigerant charging convenience.

• Can be mounted on control panels for easy installation and fixation.

• Valve stem top mark indicates full open and full close positions for visual confirmation.

### Key Features

• Flow without pressure drop — full bore design matches pipe internal diameter.

• Only 1/4 turn (90°) from full open to full close.

• Rotation limiters at both full open and full close positions.

• Valve stem top mark indicates full open and full close positions.

• Bidirectional flow capability.

• TIG welded structure for high structural strength.

• Anti-blowout valve stem design for operational safety.

• Modified PTFE seal for reliable long-term sealing performance.

• Prevents internal liquid accumulation.

• Can be mounted on control panels.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HBC-6S | 1/4 (φ6) | 2 |
| HBC-10S | 3/8 (φ10) | 5.7 |
| HBC-12S | 1/2 (φ12) | 5.7 |
| HBC-10 | 3/8 (φ10) | 5.7 |
| HBC-12 | 1/2 (φ12) | 10.6 |
| HBC-16 | 5/8 (φ16) | 14.1 |
| HBC-19 | 3/4 (φ19) | 20.4 |
| HBC-22 | 7/8 (φ22) | 28.2 |
| HBC-28 | 1-1/8 (φ28) | 52 |
| HBC-35 | 1-3/8 (φ35) | 80 |
| HBC-42 | 1-5/8 (φ42) | 121 |
| HBC-54 | 2-1/8 (φ54) | 200 |
| HBC-67 | 2-5/8 (φ67) | 200 |
| HBC-79 | 3-1/8 (φ79) | 200 |
| HBC-67A | 2-5/8 (φ67) | 310 |
| HBC-79A | 3-1/8 (φ79) | 700 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HBC |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Connection Type | Brazed (ODF) |
| Bore Type | Full Bore |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −40 °C ~ +120 °C |
| Handle Type | Manual Lever |
| Valve Body Material | Copper (TIG Welded) |
| Sealing Material | Modified PTFE |
| Charging Port | Available with/without |
| Mounting Direction | Bidirectional flow, any direction |
| Panel Mounting | Yes |

## Product 3: QFT Series — Manual Ball Valve (Reduced Bore)

Meta Title: Manual Ball Valve (Reduced Bore, ODF) | Refrigeration

(53 chars)

Meta Description: Manual reduced bore ball valve, brazed ODF, 1/4"–2-1/8", MWP 45 bar, with/without charging port, forged copper body. 10 models. MOQ 1 pc.

(136 chars)

### Product Name

Manual Ball Valve — Reduced Bore, Brazed ODF (QFT Series)

### Short Description

A precision-forged copper ball valve with reduced bore design, the QFT Series offers 10 models covering port sizes from 1/4" to 2-1/8". Available with or without a charging port (designated by the V suffix), it features specially selected seals compatible with common refrigerants and a secondary reliable sealing structure at the valve stem for enhanced leak prevention.

### Product Description

• Manual ball valve with reduced bore design for shut-off control in refrigeration and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and discharge lines.

• Precision forged high-quality copper valve body ensures structural integrity and corrosion resistance.

• Bidirectional flow design allows installation in any direction.

• Available with or without charging port — models with the V suffix (e.g., QFT-6V) include an integrated charging port with valve core for system service access.

• Specially selected seals compatible with common refrigerant operating environments.

• Can be mounted on control panels for easy installation and fixation.

### Key Features

• Bidirectional flow — can be installed in any direction.

• Precision forged high-quality copper valve body.

• Minimal pressure drop in medium flow (reduced bore design).

• Anti-blowout valve stem design for operational safety.

• Specially selected seals compatible with common refrigerants.

• Rotation limiters at both full open and full close positions.

• Secondary reliable sealing structure at valve stem for enhanced leak prevention.

• Can be mounted on control panels for easy fixation.

### Available Models

| Model | Port Size (Inch) | Welding Port ID (mm) |
| --- | --- | --- |
| QFT-6 / QFT-6V | 1/4 (φ6) | 6.5 |
| QFT-10 / QFT-10V | 3/8 (φ10) | 10.1 |
| QFT-12 / QFT-12V | 1/2 (φ12) | 12.8 |
| QFT-16 / QFT-16V | 5/8 (φ16) | 16.1 |
| QFT-19 / QFT-19V | 3/4 (φ19) | 19.2 |
| QFT-22 / QFT-22V | 7/8 (φ22) | 22.3 |
| QFT-28 / QFT-28V | 1-1/8 (φ28) | 28.7 |
| QFT-35 / QFT-35V | 1-3/8 (φ35) | 35.2 |
| QFT-42 / QFT-42V | 1-5/8 (φ42) | 41.5 |
| QFT-54 / QFT-54V | 2-1/8 (φ54) | 54.2 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | QFT |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa / 650 PSI) |
| Connection Type | Brazed (ODF) |
| Bore Type | Reduced Bore |
| Refrigerant Compatibility | R22, R134a, R404A, R407C, R410A, etc. |
| Medium Temperature Range | −40 °C ~ +120 °C |
| Handle Type | Manual Lever |
| Valve Body Material | Copper (Precision Forged) |
| Sealing Material | Refrigerant-compatible seals |
| Charging Port | Available with/without (V suffix) |
| Mounting Direction | Bidirectional flow, any direction |
| Panel Mounting | Yes |

## Product 4: QF-CO2 Series — CO₂ Ball Valve (Full Bore)

Meta Title: CO₂ Ball Valve (Full Bore, 120 bar) | Refrigeration

(51 chars)

Meta Description: CO₂ refrigerant ball valve, full bore ODF, 1/2"–2-1/8", Kv 10–200, MWP 120 bar, −50°C~+150°C, stainless steel valve body. 8 models. MOQ 1 pc.

(143 chars)

### Product Name

CO₂ Ball Valve — Full Bore, Brazed ODF, 120 bar (QF-CO2 Series)

### Short Description

Engineered specifically for transcritical CO₂ refrigeration systems, the QF-CO2 Series features a precision-cast valve body with integrated stainless steel tube and full bore design for flow without pressure drop. With 8 models covering port sizes from 1/2" to 2-1/8" and a maximum working pressure of 120 bar, it uses specially selected CO₂-compatible seals for reliable operation at extreme pressures and temperatures.

### Product Description

• CO₂-specific ball valve designed for transcritical CO₂ refrigeration systems operating at high pressures.

• Suitable for installation on CO₂ liquid lines, suction lines, and discharge lines in commercial and industrial refrigeration.

• Precision cast valve body with integrated stainless steel tube ensures CO₂ compatibility and structural integrity under high pressure.

• Full bore design — valve port structure matches pipe internal diameter for flow without pressure drop.

• Specially selected seals compatible with CO₂ operating environments.

• Bidirectional flow design allows installation in any direction.

• TIG welded connection structure for permanent, leak-free installations.

### Key Features

• Flow without pressure drop — full bore design.

• Only 1/4 turn (90°) from full open to full close.

• Rotation limiters at both full open and full close positions.

• Valve stem top mark indicates full open and full close positions.

• Bidirectional flow capability.

• TIG welded connection structure for high strength.

• Anti-blowout valve stem design for operational safety.

• Modified PTFE seal for reliable long-term sealing performance.

• Prevents internal liquid accumulation.

• Can be mounted on control panels.

• Specially selected CO₂-compatible seals for high-pressure CO₂ environments.

• Secondary reliable sealing structure at valve stem.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| QF12-CO2 | 1/2 (φ12) | 10 |
| QF16-CO2 | 5/8 (φ16) | 14 |
| QF19-CO2 | 3/4 (φ19) | 20 |
| QF22-CO2 | 7/8 (φ22) | 28 |
| QF28-CO2 | 1-1/8 (φ28) | 52 |
| QF35-CO2 | 1-3/8 (φ35) | 80 |
| QF42-CO2 | 1-5/8 (φ42) | 121 |
| QF54-CO2 | 2-1/8 (φ54) | 200 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | QF-CO2 |
| MWP (Maximum Working Pressure) | 120 bar (12 MPa) |
| Connection Type | Brazed (ODF) |
| Bore Type | Full Bore |
| Refrigerant Compatibility | CO₂ (R744) |
| Medium Temperature Range | −50 °C ~ +150 °C |
| Handle Type | Manual Lever |
| Valve Body Material | Copper + Stainless Steel (Precision Cast) |
| Sealing Material | CO₂-compatible seals |
| Mounting Direction | Bidirectional flow, any direction |
| Panel Mounting | Yes |

## Product 5: GFM-S Series — Threaded Ball Valve (NPT)

Meta Title: Threaded Ball Valve (NPT Connection) | Refrigeration

(52 chars)

Meta Description: NPT threaded ball valve for refrigeration, 1/4"–1", MWP 120 bar, forged copper body, bidirectional flow, tool-free installation. 5 models. MOQ 1 pc.

(146 chars)

### Product Name

Threaded Ball Valve — NPT Connection, Forged Copper (GFM-S Series)

### Short Description

The only NPT threaded ball valve in this range, the GFM-S Series features a precision-forged copper body with NPT threaded connections that enable tool-free installation and removal without welding. With 5 models covering NPT 1/4" to 1" and bidirectional flow capability, it is compatible with most common refrigerants and suitable for applications where brazed connections are impractical.

### Product Description

• Threaded ball valve with NPT connection for shut-off control in refrigeration and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and discharge lines.

• NPT threaded connection enables easy installation and removal using only a wrench — no welding required, making it ideal for field service and maintenance.

• Precision forged high-quality copper valve body ensures structural integrity and corrosion resistance.

• Bidirectional flow design allows installation in any direction.

• Compatible with most common refrigerants.

### Key Features

• Bidirectional flow — can be installed in any direction.

• Precision forged high-quality copper valve body.

• Anti-blowout valve stem design for operational safety.

• Rotation limiters at both full open and full close positions.

• Secondary reliable sealing structure at valve stem for enhanced leak prevention.

• Compatible with most common refrigerants.

• NPT threaded connection — no welding required, tool-free installation and removal.

### Available Models

| Model | Port Size (NPT) | Overall Size L×H (mm) |
| --- | --- | --- |
| GFM-S-NPT 1/4 | NPT 1/4 | 64.5 × 43 |
| GFM-S-NPT 3/8 | NPT 3/8 | 64.5 × 43 |
| GFM-S-NPT 1/2 | NPT 1/2 | 77.5 × 53 |
| GFM-S-NPT 3/4 | NPT 3/4 | 86.5 × 57 |
| GFM-S-NPT 1 | NPT 1 | 96 × 61 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | GFM-S |
| MWP (Maximum Working Pressure) | 120 bar (12 MPa) |
| Connection Type | NPT Threaded |
| Bore Type | N/A |
| Refrigerant Compatibility | R22, R134a, R404A, R407C, R410A |
| Medium Temperature Range | −40 °C ~ +120 °C |
| Handle Type | Manual Lever |
| Valve Body Material | Copper (Precision Forged) |
| Sealing Material | Secondary reliable sealing structure at valve stem |
| Mounting Direction | Bidirectional flow, any direction |

## 5-Product Comparison Table

| # | Series | Drive Type | Bore Type | Connection | Port Range | Kv Range (m³/h) | MWP (bar) | Refrigerant | Temp Range |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | DQF | Electric | Full Bore | Brazed (ODF) | 3/8" ~ 3-1/8" | 5.7 ~ 200 | 45 | HCFC, HFC | −40 ~ +120 °C |
| 2 | HBC | Manual | Full Bore | Brazed (ODF) | 1/4" ~ 3-1/8" | 2 ~ 700 | 45 | HCFC, HFC | −40 ~ +120 °C |
| 3 | QFT | Manual | Reduced Bore | Brazed (ODF) | 1/4" ~ 2-1/8" | N/A | 45 | R22, R134a, R404A, R407C, R410A | −40 ~ +120 °C |
| 4 | QF-CO2 | Manual | Full Bore | Brazed (ODF) | 1/2" ~ 2-1/8" | 10 ~ 200 | 120 | CO₂ (R744) | −50 ~ +150 °C |
| 5 | GFM-S | Manual | N/A | NPT Threaded | NPT 1/4 ~ 1 | N/A | 120 | R22, R134a, R404A, R407C, R410A | −40 ~ +120 °C |

## SEO Keywords by Product

### Product 1: DQF Series — Electric Ball Valve

• electric ball valve

• motorized ball valve refrigeration

• automatic ball valve HVAC

• full bore electric ball valve

• refrigeration ball valve electric actuator

### Product 2: HBC Series — Manual Ball Valve (Full Bore)

• manual ball valve

• refrigeration ball valve

• full bore ball valve

• copper ball valve ODF brazed

• HVAC ball valve manual lever

### Product 3: QFT Series — Manual Ball Valve (Reduced Bore)

• reduced bore ball valve

• refrigeration ball valve

• manual ball valve ODF

• forged copper ball valve

• HVAC shut-off ball valve

### Product 4: QF-CO2 Series — CO₂ Ball Valve

• CO2 ball valve

• CO2 refrigeration ball valve

• high pressure ball valve 120 bar

• transcritical CO2 valve

• R744 ball valve

### Product 5: GFM-S Series — Threaded Ball Valve (NPT)

• NPT ball valve

• threaded ball valve refrigeration

• copper ball valve NPT

• refrigeration ball valve threaded

• HVAC ball valve NPT threaded

## GEO Optimization Notes

This content is structured to maximize discoverability and accurate citation by AI-powered search engines (Google AI Overviews, Perplexity, ChatGPT Search, Bing Copilot, etc.) through the following strategies:

### 1. Structured Data Tables

Each product includes a Technical Parameters table with consistent parameter fields (MWP, Connection Type, Bore Type, Refrigerant Compatibility, Medium Temperature Range, Handle Type, Valve Body Material, Sealing Material). AI engines extract and compare structured tabular data with high fidelity. The 5-Product Comparison Table at the end provides a single reference point for cross-product comparison queries (e.g., "Which HVACR ball valves have full bore design?" or "Compare MWP of CO₂ ball valves vs standard ball valves").

### 2. Specific Parameter Values

All technical specifications use precise numerical values (e.g., "Kv 5.7–200 m³/h", "MWP 120 bar (12 MPa)", "−50 °C to +150 °C") rather than vague descriptors. AI engines prioritize content with concrete data points when answering factual queries such as "What is the maximum working pressure of a CO₂ ball valve?" or "What port sizes are available for electric ball valves?"

### 3. Standard Full-Name References

Industry standards and technical terms are written in full on first use: "Maximum Working Pressure (MWP)", "Full Bore", "Reduced Bore", "Brazed (ODF — Outside Diameter Female)", "NPT (National Pipe Thread)", "Modified PTFE (Polytetrafluoroethylene)", "TIG Welded", "IP54". This enables AI search engines to match both abbreviated and full-form search queries.

### 4. Manufacturer-Sourced Product Descriptions

Each product includes a Product Description and Key Features section sourced from the manufacturer's professional technical documentation. These sections describe specific application scenarios, pipe line positions (liquid, suction, discharge), and engineering characteristics (bore type, sealing material, valve body construction), enabling AI search engines to accurately understand and cite product application contexts when answering queries such as "Which ball valve is used on CO₂ discharge lines?" or "What are the key features of an electric refrigeration ball valve?"

### 5. Entity-Rich Context

Product descriptions incorporate industry-specific entities and relationships: refrigerant types (HCFC, HFC, CO₂/R744, R22, R134a, R404A, R407C, R410A), connection standards (ODF, NPT, TIG welded), valve components (valve stem, valve body, sealing, actuator), and application contexts (liquid lines, suction lines, discharge lines, cold storage, air conditioning). This entity density helps AI engines correctly associate products with relevant search queries and technical comparisons.

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。