# Solenoid Valves — Product Catalog & SEO Content

Catalog Path: Valves > Solenoid Valves

Supplier: Ningbo HVACR Net Refrigeration Equipment Co., Ltd. (HVACR NET)

Website: www.hvacrnet.com

Contact: Echo YANG · Echo@hvacrnet.com

MOQ: 1 piece (small-batch wholesale supported)

## Product 1: HVD Series — Standard Solenoid Valve

Meta Title: Standard Piston Solenoid Valve (ODF, NC) | Refrigeration

(56 chars)

Meta Description: NC piston solenoid valve with brazed ODF, 3/8"–1-5/8", Kv 0.8–25 m³/h, MWP 45 bar, AC220/380V. 8 models in stock. MOQ 1 pc.

(123 chars)

### Product Name

Standard Solenoid Valve — Piston, NC, Brazed ODF (HVD Series)

### Short Description

The standard mainstay refrigeration solenoid valve in this range, the HVD Series features a piston structure and pure ODF brazed connection for reliable high-pressure operation. With 8 models covering port sizes from 3/8" to 1-5/8", it serves a wide range of HCFC and HFC refrigeration and air conditioning systems.

### Product Description

• Servo-operated solenoid valve designed for one-way flow control in refrigeration, cold storage, and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and hot gas lines.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately) for flexible installation and maintenance.

### Key Features

• Proprietary solenoid coil with excellent waterproof performance (IP65).

• Advanced materials provide superior high and low temperature resistance.

• 24W high-power solenoid coil delivers strong valve opening capability.

• Large piston stroke ensures high flow rate performance.

• Various AC and DC solenoid coil options available.

• Maximum welded connection size: 1-5/8".

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HVD8-3T | 3/8" | 0.8 |
| HVD10-4T | 1/2" | 1.4 |
| HVD10-5T | 5/8" | 1.9 |
| HVD15-6T | 3/4" | 2.6 |
| HVD15-7T | 7/8" | 2.8 |
| HVD25-9T | 1-1/8" | 10 |
| HVD32-11T | 1-3/8" | 16 |
| HVD40-13T | 1-5/8" | 25 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVD |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / AC220V / 50Hz |
| Connection Type | Brazed (ODF) |
| Valve Type | Piston |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 2: HVP Series — High Flow Solenoid Valve

Meta Title: High Flow Solenoid Valve, Flanged ODF | Refrigeration

(53 chars)

Meta Description: High flow NC piston solenoid valve with flanged ODF, 1-1/8"–2-1/8", Kv 10–28 m³/h, MWP 45 bar. Large-diameter refrigeration. MOQ 1 pc.

(134 chars)

### Product Name

High Flow Solenoid Valve — Piston, NC, Flanged ODF (HVP Series)

### Short Description

Delivering the highest flow capacity among standard refrigeration solenoid valves, the HVP Series features a flanged-edge valve body designed for large-diameter refrigeration applications. With 4 models covering ports from 1-1/8" to 2-1/8" and Kv values up to 28 m³/h, it is ideal for industrial and commercial refrigeration systems requiring high-capacity refrigerant flow.

### Product Description

• Servo-operated solenoid valve designed for one-way flow control in refrigeration, cold storage, and air conditioning systems.

• Suitable for installation on liquid lines, suction lines, and hot gas lines.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately) for flexible installation and maintenance.

### Key Features

• Proprietary solenoid coil with excellent waterproof performance (IP65).

• Advanced materials provide superior high and low temperature resistance.

• 24W high-power solenoid coil delivers strong valve opening capability.

• Large piston stroke ensures high flow rate performance.

• Various AC and DC solenoid coil options available.

• Maximum welded connection size: 2-1/8".

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HVP25 | 1-1/8" | 10 |
| HVP32 | 1-3/8" | 16 |
| HVP40 | 1-5/8" | 25 |
| HVP54 | 2-1/8" | 28 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVP |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / AC220V / 50Hz |
| Connection Type | Brazed (ODF, flanged edge) |
| Valve Type | Piston |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 3: HV Series (Small Port) — Clamping Type Solenoid Valve

Meta Title: Clamping Type Solenoid Valve, Small Port | Refrigeration

(56 chars)

Meta Description: Small port clamping solenoid valve, diaphragm NC, SAE flare/ODF, 1/4"–3/8", Kv 0.2–0.27, MWP 45 bar, wide voltage. MOQ 1 pc.

(124 chars)

### Product Name

Clamping Type Solenoid Valve — Small Port, Diaphragm, NC (HV Series)

### Short Description

A compact diaphragm solenoid valve with a clamping coil design that allows tool-free coil removal for quick maintenance, the HV Series (Small Port) covers port sizes from 1/4" to 3/8" and offers the widest voltage range in the lineup (AC380V/220V/110V/24V, DC12V). It is ideal for compact refrigeration and air conditioning installations.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning units.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Compatible with coils of various voltages for flexible electrical configuration.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 9W solenoid coil with MOPD up to 3.1 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

• Certifications: ISO 9001, CE, UL.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HV3-2 | 1/4" | 0.2 |
| HV3-2T | 1/4" | 0.2 |
| HV3-3 | 3/8" | 0.27 |
| HV3-3T | 3/8" | 0.27 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HV (Small Port) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 4: HV Series (Large Port) — Clamping Type Solenoid Valve

Meta Title: Clamping Type Solenoid Valve, 3/8"-1-1/8" | Refrigeration

(57 chars)

Meta Description: Large port clamping solenoid valve, diaphragm NC, 3/8"–1-1/8", Kv 0.8–10, MWP 45 bar, wide voltage AC/DC. 14 models. MOQ 1 pc.

(126 chars)

### Product Name

Clamping Type Solenoid Valve — Large Port, Diaphragm, NC (HV Series)

### Short Description

Extending the clamping coil platform to medium and large air conditioning and refrigeration systems, the HV Series (Large Port) offers 14 models covering port sizes from 3/8" to 1-1/8" and Kv values from 0.8 to 10 m³/h. It retains the tool-free coil removal and wide voltage compatibility that define the HV clamping series.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning units.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Compatible with coils of various voltages for flexible electrical configuration.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 9W solenoid coil with MOPD up to 3.1 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

• Certifications: ISO 9001, CE, UL.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HV8M3 | 3/8" | 0.8 |
| HV8M3T | 3/8" | 0.8 |
| HV8M4 | 1/2" | 0.8 |
| HV8M4T | 1/2" | 0.8 |
| HV10M4 | 1/2" | 2.2 |
| HV10M4T | 1/2" | 2.2 |
| HV10M5 | 5/8" | 2.2 |
| HV10M5T | 5/8" | 2.2 |
| HV15M5 | 5/8" | 2.6 |
| HV15M5T | 5/8" | 2.6 |
| HV15M6 | 3/4" | 2.6 |
| HV15M6T | 3/4" | 2.6 |
| HV20M7T | 7/8" | 5.7 |
| HV25M9T | 1-1/8" | 10 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HV (Large Port) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 5: SV Series (Direct Operated) — Clip-type Sealed Coil Solenoid Valve (IP65)

Meta Title: IP65 Sealed Solenoid Valve, Direct Operated | Refrigeration

(59 chars)

Meta Description: Direct operated NC solenoid valve with IP65 sealed coil, diaphragm, 1/4"–3/8", Kv 0.2–0.27, zero min pressure differential. MOQ 1 pc.

(133 chars)

### Product Name

IP65 Sealed Coil Solenoid Valve — Direct Operated, Diaphragm, NC (SV Series)

### Short Description

Featuring a patented sealed coil with IP65 rating and direct-operated mechanism that requires zero minimum pressure differential to open, the SV Series (Direct Operated) includes 4 models covering 1/4"–3/8" ports. It is suited for low-flow applications where system pressure may be insufficient for servo-operated valves.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning facilities.

• Precision-engineered valve seat and sealing components provide excellent sealing performance.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• Proprietary fully sealed coil design with waterproof performance and extended service life (IP65).

• Operates reliably even under voltage fluctuations.

• Various AC and DC solenoid coil options available.

• Clip-type coil design for convenient assembly and disassembly.

• Applicable to various compressors in refrigeration, cold storage, and air conditioning facilities.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| SV20-2 | 1/4" | 0.2 |
| SV28-2 | 1/4" | 0.2 |
| SV20-3 | 3/8" | 0.27 |
| SV28-3 | 3/8" | 0.27 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | SV (Direct) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Direct Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ingress Protection | IP65 |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 6: SV Series (Servo Operated) — Clip-type Sealed Coil Solenoid Valve (IP65)

Meta Title: IP65 Sealed Solenoid Valve, Servo Operated | Refrigeration

(58 chars)

Meta Description: Servo NC solenoid valve with IP65 sealed coil, diaphragm, 3/8"–7/8", Kv 0.8–5.7, MWP 45 bar, maintenance-free. 9 models. MOQ 1 pc.

(130 chars)

### Product Name

IP65 Sealed Coil Solenoid Valve — Servo Operated, Diaphragm, NC (SV Series)

### Short Description

Combining the IP65 sealed coil platform with servo operation for larger port sizes (3/8"–7/8"), the SV Series (Servo Operated) offers 9 models and a maintenance-free design. It covers medium-flow refrigeration and air conditioning applications where environmental protection and long service intervals are required.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning facilities.

• Precision-engineered valve seat and sealing components provide excellent sealing performance.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• Proprietary fully sealed coil design with waterproof performance and extended service life (IP65).

• Operates reliably even under voltage fluctuations.

• Various AC and DC solenoid coil options available.

• Clip-type coil design for convenient assembly and disassembly.

• Applicable to various compressors in refrigeration, cold storage, and air conditioning facilities.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| SV64-3 | 3/8" | 0.8 |
| SV68-3 | 3/8" | 0.8 |
| SV64-4 | 1/2" | 0.8 |
| SV68-4 | 1/2" | 0.8 |
| SV70-5 | 5/8" | 2.6 |
| SV78-5 | 5/8" | 2.6 |
| SV70-6 | 3/4" | 2.6 |
| SV78-6 | 3/4" | 2.6 |
| SV98-7 | 7/8" | 5.7 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | SV (Servo) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ingress Protection | IP65 |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 7: 10 Series (Direct Operated) — Low Power Open Coil Solenoid Valve (8W)

Meta Title: Low Power Solenoid Valve 8W, Direct Operated | Refrigeration

(60 chars)

Meta Description: Direct operated NC solenoid valve, 8W low power open coil, diaphragm, 1/4"–3/8", Kv 0.2–0.27, MWP 45 bar. Energy-efficient. MOQ 1 pc.

(133 chars)

### Product Name

Low Power Open Coil Solenoid Valve 8W — Direct Operated, Diaphragm, NC (10 Series)

### Short Description

Achieving the lowest power consumption in this catalog at just 8W, the 10 Series (Direct Operated) features an open coil design for superior heat dissipation. With 4 models covering 1/4"–3/8" ports and direct-operated mechanism, it is ideal for energy-sensitive applications and low-pressure systems.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning facilities.

• Precision-engineered valve seat and sealing components provide excellent sealing performance.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 8W solenoid coil with MOPD up to 2.5 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| 1020-2 | 1/4" | 0.2 |
| 1028-2 | 1/4" | 0.2 |
| 1020-3 | 3/8" | 0.27 |
| 1028-3 | 3/8" | 0.27 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | 10 (Direct) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Direct Operated |
| NO/NC | NC (Normally Closed) |
| Power Consumption | 8W |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 8: 10 Series (Servo Operated) — Low Power Open Coil Solenoid Valve (8W)

Meta Title: Low Power Solenoid Valve 8W, Servo Operated | Refrigeration

(59 chars)

Meta Description: Servo NC solenoid valve, 8W low power open coil, diaphragm, 3/8"–3/4", Kv 0.8–2.6, MWP 45 bar, energy-efficient. 8 models. MOQ 1 pc.

(132 chars)

### Product Name

Low Power Open Coil Solenoid Valve 8W — Servo Operated, Diaphragm, NC (10 Series)

### Short Description

Extending the 8W low-power platform to medium-flow applications, the 10 Series (Servo Operated) offers 8 models covering 3/8"–3/4" ports and Kv values from 0.8 to 2.6 m³/h. It combines energy-efficient operation with servo mechanism efficiency, making it suitable for commercial refrigeration and air conditioning systems with moderate flow requirements.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning facilities.

• Precision-engineered valve seat and sealing components provide excellent sealing performance.

• Compatible with coils of various voltages through a universal valve body design.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 8W solenoid coil with MOPD up to 2.5 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| 1064-3 | 3/8" | 0.8 |
| 1068-3 | 3/8" | 0.8 |
| 1064-4 | 1/2" | 0.8 |
| 1068-4 | 1/2" | 0.8 |
| 1070-5 | 5/8" | 2.6 |
| 1078-5 | 5/8" | 2.6 |
| 1070-6 | 3/4" | 2.6 |
| 1078-6 | 3/4" | 2.6 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | 10 (Servo) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Power Consumption | 8W |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 9: HVK Series (Small Port) — Normally Open Solenoid Valve

Meta Title: Normally Open Solenoid Valve, Small Port | Refrigeration

(56 chars)

Meta Description: Small port normally open (NO) solenoid valve, diaphragm, 1/4"–3/8", Kv 0.2–0.8, MWP 45 bar, fail-safe open, CE/UL. 6 models. MOQ 1 pc.

(134 chars)

### Product Name

Normally Open Solenoid Valve — Small Port, Diaphragm, NO (HVK Series)

### Short Description

The only normally open (NO) solenoid valve series in this range, the HVK Series (Small Port) stays open when de-energized, providing fail-safe open operation for safety-critical applications. With 6 models covering 1/4"–3/8" ports and CE/UL certification, it is designed for systems where refrigerant flow must continue during power failure.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning units.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Compatible with coils of various voltages for flexible electrical configuration.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NO (Normally Open) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 26VA solenoid coil with MOPD up to 2.1 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

• Certifications: ISO 9001, CE, UL.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HVK3-2 | 1/4" | 0.2 |
| HVK3-2T | 1/4" | 0.2 |
| HVK3-3 | 3/8" | 0.27 |
| HVK3-3T | 3/8" | 0.27 |
| HVK8M3 | 3/8" | 0.8 |
| HVK8M3T | 3/8" | 0.8 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVK (Small Port) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NO (Normally Open) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Certifications | CE, UL |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 10: HVK Series (Large Port) — Normally Open Solenoid Valve

Meta Title: Normally Open Solenoid Valve, 1/2"-1-1/8" | Refrigeration

(57 chars)

Meta Description: Large port normally open (NO) solenoid valve, diaphragm, 1/2"–1-1/8", Kv 0.8–10, MWP 45 bar, fail-safe open. 12 models. MOQ 1 pc.

(129 chars)

### Product Name

Normally Open Solenoid Valve — Large Port, Diaphragm, NO (HVK Series)

### Short Description

Extending the normally open platform to larger port sizes from 1/2" to 1-1/8", the HVK Series (Large Port) offers 12 models and Kv values up to 10 m³/h. It provides fail-safe open operation for safety-critical refrigeration applications where medium-to-high flow must continue during power failure.

### Product Description

• Direct-operated or servo-operated solenoid valve designed for one-way flow control.

• Used on liquid lines, suction lines, and hot gas lines in refrigeration, cold storage, and air conditioning units.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Compatible with coils of various voltages for flexible electrical configuration.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NO (Normally Open) type available.

• Various port sizes available to suit different system requirements.

• Coils of various power supply options available for selection.

• 26VA solenoid coil with MOPD up to 2.1 MPa.

• Clamping-type design enables tool-free disassembly using only a screwdriver.

• Suitable for diverse applications in refrigeration, cold storage, and air conditioning.

• Sealed coil with extended service life, suitable for harsh environments.

• Certifications: ISO 9001, CE, UL.

### Available Models

| Model | Port Size (Inch) | Kv (m³/h) |
| --- | --- | --- |
| HVK8M4 | 1/2" | 0.8 |
| HVK8M4T | 1/2" | 0.8 |
| HVK10M4 | 1/2" | 2.2 |
| HVK10M4T | 1/2" | 2.2 |
| HVK10M5 | 5/8" | 2.2 |
| HVK10M5T | 5/8" | 2.2 |
| HVK15M5 | 5/8" | 2.6 |
| HVK15M5T | 5/8" | 2.6 |
| HVK15M6 | 3/4" | 2.6 |
| HVK15M6T | 3/4" | 2.6 |
| HVK20M7T | 7/8" | 5.7 |
| HVK25M9T | 1-1/8" | 10 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVK (Large Port) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / 220V / 110V / 24V 50/60Hz, DC12V |
| Connection Type | SAE Flare / Brazed (ODF) |
| Valve Type | Diaphragm |
| Opening Type | Servo-Operated |
| NO/NC | NO (Normally Open) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 11: HV Unloading (Flanged) — Clamping Type Unloading Solenoid Valve

Meta Title: Compressor Unloading Solenoid Valve, Flanged | Refrigeration

(60 chars)

Meta Description: Flanged NC unloading solenoid valve, piston direct operated, IP67 junction box, Kv 0.27, MWP 45 bar, compressor unloading. MOQ 1 pc.

(132 chars)

### Product Name

Compressor Unloading Solenoid Valve — Flanged, Piston, NC (HV Series)

### Short Description

A compressor unloading solenoid valve with flanged connection and IP67-rated junction box, the HV Unloading (Flanged) is designed for direct-operated piston operation. It is used in compressor capacity control systems to bypass or unload compressor cylinders, reducing load during startup or part-load operation.

### Product Description

• Direct-operated solenoid valve designed for one-way flow control, specifically for compressor applications.

• Used on compressors in refrigeration, cold storage, and air conditioning units — automatically unloads in response to reduced heat load, saving compressor energy and extending service life.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Maximum design temperature: 110 °C.

• 10W high-power solenoid coil with MOPD up to 3.0 MPa.

• Applicable to various compressors in refrigeration, cold storage, and air conditioning.

• Clamping-type design enables easy mounting and dismounting using only a screwdriver.

• Sealed solenoid with extended service life, suitable for harsh environments.

### Available Models

| Model | Connection | Kv (m³/h) |
| --- | --- | --- |
| HV3.2B | Flange | 0.27 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HV Unloading (Flanged) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC220V / 50Hz |
| Connection Type | Flanged |
| Valve Type | Piston |
| Opening Type | Direct Operated |
| NO/NC | NC (Normally Closed) |
| Ingress Protection | IP67 (with junction box) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | IP67 with terminal box |

## Product 12: HV Unloading (ODF) — Clamping Type Unloading Solenoid Valve

Meta Title: Compressor Unloading Solenoid Valve, ODF | Refrigeration

(56 chars)

Meta Description: ODF brazed NC unloading solenoid valve, piston direct operated, 3/8", Kv 0.2, MWP 45 bar, compressor unloading, compact design. MOQ 1 pc.

(137 chars)

### Product Name

Compressor Unloading Solenoid Valve — ODF, Piston, NC (HV Series)

### Short Description

A compact compressor unloading solenoid valve with ODF brazed connection, the HV Unloading (ODF) is designed for direct piping into refrigeration systems. Using a direct-operated piston structure with NC configuration, it provides reliable compressor capacity control in a space-efficient package.

### Product Description

• Direct-operated solenoid valve designed for one-way flow control, specifically for compressor applications.

• Used on compressors in refrigeration, cold storage, and air conditioning units — automatically unloads in response to reduced heat load, saving compressor energy and extending service life.

• Precision-engineered valve seat and seals deliver excellent sealing performance.

• Available as a complete assembly or as split supply (valve body and coil supplied separately).

### Key Features

• NC (Normally Closed) type available.

• Maximum design temperature: 110 °C.

• 10W high-power solenoid coil with MOPD up to 3.0 MPa.

• Applicable to various compressors in refrigeration, cold storage, and air conditioning.

• Clamping-type design enables easy mounting and dismounting using only a screwdriver.

• Sealed solenoid with extended service life, suitable for harsh environments.

### Available Models

| Model | Connection | Kv (m³/h) |
| --- | --- | --- |
| HV2P | 3/8" | 0.2 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HV Unloading (ODF) |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC220V / 50Hz |
| Connection Type | Brazed (ODF) |
| Valve Type | Piston |
| Opening Type | Direct Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC, lubricating oil (viscosity ≤2°E) |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | IP67 with terminal box |

## Product 13: HVS(R) Series — Hot Gas Defrost Solenoid Valve

Meta Title: Hot Gas Defrost Solenoid Valve, 3-Way | Refrigeration

(53 chars)

Meta Description: 3-way hot gas defrost solenoid valve, piston servo NC, MWP 30 bar, dual Kv, −35°C~+105°C. Switches cooling/defrost modes. MOQ 1 pc.

(131 chars)

### Product Name

Hot Gas Defrost Solenoid Valve — 3-Way Reversing, Piston, NC (HVS Series)

### Short Description

A 3-way reversing solenoid valve designed for hot gas defrost systems in commercial and industrial refrigeration, the HVS(R) Series switches between cooling and defrost modes by redirecting hot discharge gas, enabling efficient frost removal without separate electric heaters. With 4 models and a medium temperature range extending to −35 °C, it is suited for low-temperature freezer and cold storage applications.

### Product Description

• Specially designed solenoid valve for hot gas defrost in refrigeration systems.

• Switches flow channels by electromagnetically controlling the internal piston position.

• When de-energized: Port 2 closes, Port 3 connects to Port 1 — the evaporator connects to compressor suction for normal refrigeration cycle.

• When energized: Port 1 closes, Port 2 opens to Port 3 — hot gas flows through the evaporator for defrosting.

• Must be connected to the compressor discharge integrated pipe only; do not connect to the main discharge pipe.

### Key Features

• Specially designed for industrial applications.

• Large-diameter construction with a compact, lightweight design.

• Highly integrated piston structure — all internal parts are accessible for cleaning by unscrewing the bonnet screw.

• Refined design achieves internal leakage below 300 ml/min.

### Available Models

| Model | Port Size (mm) | Kv (m³/h) |
| --- | --- | --- |
| HVS(R)-27-22 | Ø22 mm | 7.1 / 8.2 |
| HVS(R)-34-27 | Ø27 mm | 9.3 / 13.7 |
| HVS(R)-42-34 | Ø34 mm | 12.7 / 20.2 |
| HVS(R)-48-42 | Ø42 mm | 12.7 / 20.2 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVS(R) |
| MWP (Maximum Working Pressure) | 30 bar (3.0 MPa) |
| Rated Voltage | AC220V / 50Hz |
| Connection Type | Special (Discharge Pipe) |
| Valve Type | Piston (3-way) |
| Opening Type | Servo-Operated (3-way) |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −35 °C ~ +105 °C |
| Ambient Temperature | −35 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire plug-in connector |

## Product 14: HVDF Series — High Flow Piston Solenoid Valve (ODF)

Meta Title: High Flow Piston Solenoid Valve, ODF | Refrigeration

(52 chars)

Meta Description: High flow NC piston solenoid valve, ODF brazed, 28.2–59.3mm, Kv 10–28, MWP 45 bar, industrial refrigeration. 5 models. MOQ 1 pc.

(128 chars)

### Product Name

High Flow Piston Solenoid Valve — ODF Brazed, NC (HVDF Series)

### Short Description

A large-diameter ODF brazed solenoid valve with piston structure, the HVDF Series is designed for industrial refrigeration systems requiring high flow capacity. With 5 models covering port sizes from 28.2 mm to 59.3 mm and Kv values from 10 to 28 m³/h, it provides reliable high-pressure flow control for heavy-duty refrigeration applications.

### Product Description

• Servo-operated solenoid valve designed for one-way flow control in refrigeration, cold storage, and air conditioning facilities.

• Suitable for installation on liquid lines, suction lines, and hot gas lines.

• Compatible with coils of various voltages through a universal valve body design.

• Available as split supply (valve body and coil supplied separately) for flexible installation.

### Key Features

• Proprietary solenoid coil with excellent waterproof performance (IP65).

• Advanced materials provide superior high and low temperature resistance.

• 24W high-power solenoid coil delivers strong valve opening capability.

• Large piston stroke ensures high flow rate performance.

• Various AC and DC solenoid coil options available.

• Maximum welded connection size: 2-3/8".

### Available Models

| Model | Port Size (mm) | Kv (m³/h) |
| --- | --- | --- |
| HVDF25-9 | 28.2 mm | 10 |
| HVDF25-11 | 33.7 mm | 16 |
| HVDF32-13 | 42.4 mm | 16 |
| HVDF40-15 | 48.3 mm | 25 |
| HVDF50-19 | 59.3 mm | 28 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVDF |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / AC220V / 50Hz |
| Connection Type | Brazed (ODF) |
| Valve Type | Piston |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## Product 15: HVPF Series — High Flow Piston Solenoid Valve (Flanged)

Meta Title: High Flow Piston Solenoid Valve, Flanged | Refrigeration

(56 chars)

Meta Description: High flow NC piston solenoid valve with flanged ODF, 35–60.3mm, Kv 10–30, MWP 45 bar, built-in filter. Highest Kv in lineup. MOQ 1 pc.

(134 chars)

### Product Name

High Flow Piston Solenoid Valve — Flanged, Built-in Filter (HVPF Series)

### Short Description

Featuring a flanged-edge design for compact large-diameter installations, the HVPF Series achieves the highest Kv value (30 m³/h) in this catalog. With 5 models covering 35–60.3 mm ports and a built-in filter screen, it is engineered for industrial refrigeration systems demanding maximum flow capacity with contamination protection.

### Product Description

• Servo-operated solenoid valve designed for one-way flow control in refrigeration, cold storage, and air conditioning facilities.

• Suitable for installation on liquid lines, suction lines, and hot gas lines.

• Compatible with coils of various voltages through a universal valve body design.

• Available as split supply (valve body and coil supplied separately) for flexible installation.

### Key Features

• Proprietary solenoid coil with excellent waterproof performance (IP65).

• Advanced materials provide superior high and low temperature resistance.

• 24W high-power solenoid coil delivers strong valve opening capability.

• Large piston stroke ensures high flow rate performance.

• Various AC and DC solenoid coil options available.

• Maximum welded connection size: 2-3/8".

### Available Models

| Model | Port Size (mm) | Kv (m³/h) |
| --- | --- | --- |
| HVPF32 | 35 mm | 10 |
| HVPF40 | 42 mm | 16 |
| HVPF45 | 48.3 mm | 25 |
| HVPF54 | 54.5 mm | 28 |
| HVPF60 | 60.3 mm | 30 |

### Technical Parameters

| Parameter | Value |
| --- | --- |
| Series Code | HVPF |
| MWP (Maximum Working Pressure) | 45 bar (4.5 MPa) |
| Rated Voltage | AC380V / AC220V / 50Hz |
| Connection Type | Brazed (ODF, flanged edge) |
| Valve Type | Piston |
| Opening Type | Servo-Operated |
| NO/NC | NC (Normally Closed) |
| Refrigerant Compatibility | HCFC, HFC |
| Medium Temperature Range | −30 °C ~ +105 °C |
| Built-in Filter | Yes |
| Ambient Temperature | −40 °C ~ +65 °C |
| Voltage Fluctuation | +10% / −15% |
| Coil Connection | Standard 3-wire insert connector |

## 15-Product Comparison Table

| # | Series | Structure | NO/NC | Opening Type | Connection | Port Range | Kv Range (m³/h) | MWP (bar) | Voltage |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | HVD | Piston | NC | Servo-Operated | Brazed (ODF) | 3/8" ~ 1-5/8" | 0.8 ~ 25 | 45 | AC380V/220V/50Hz |
| 2 | HVP | Piston | NC | Servo-Operated | Brazed (ODF, flanged edge) | 1-1/8" ~ 2-1/8" | 10 ~ 28 | 45 | AC380V/220V/50Hz |
| 3 | HV (Small Port) | Diaphragm | NC | Servo-Operated | SAE Flare / Brazed (ODF) | 1/4" ~ 3/8" | 0.2 ~ 0.27 | 45 | AC380/220/110/24V, DC12V |
| 4 | HV (Large Port) | Diaphragm | NC | Servo-Operated | SAE Flare / Brazed (ODF) | 3/8" ~ 1-1/8" | 0.8 ~ 10 | 45 | AC380/220/110/24V, DC12V |
| 5 | SV (Direct) | Diaphragm | NC | Direct Operated | SAE Flare / Brazed (ODF) | 1/4" ~ 3/8" | 0.2 ~ 0.27 | 45 | AC380/220/110/24V, DC12V |
| 6 | SV (Servo) | Diaphragm | NC | Servo-Operated | SAE Flare / Brazed (ODF) | 3/8" ~ 7/8" | 0.8 ~ 5.7 | 45 | AC380/220/110/24V, DC12V |
| 7 | 10 (Direct) | Diaphragm | NC | Direct Operated | SAE Flare / Brazed (ODF) | 1/4" ~ 3/8" | 0.2 ~ 0.27 | 45 | AC380/220/110/24V, DC12V |
| 8 | 10 (Servo) | Diaphragm | NC | Servo-Operated | SAE Flare / Brazed (ODF) | 3/8" ~ 3/4" | 0.8 ~ 2.6 | 45 | AC380/220/110/24V, DC12V |
| 9 | HVK (Small Port) | Diaphragm | NO | Servo-Operated | SAE Flare / Brazed (ODF) | 1/4" ~ 3/8" | 0.2 ~ 0.8 | 45 | AC380/220/110/24V, DC12V |
| 10 | HVK (Large Port) | Diaphragm | NO | Servo-Operated | SAE Flare / Brazed (ODF) | 1/2" ~ 1-1/8" | 0.8 ~ 10 | 45 | AC380/220/110/24V, DC12V |
| 11 | HV Unloading (Flanged) | Piston | NC | Direct Operated | Flanged | N/A (flange mount) | 0.27 | 45 | AC220V/50Hz |
| 12 | HV Unloading (ODF) | Piston | NC | Direct Operated | Brazed (ODF) | 3/8" | 0.2 | 45 | AC220V/50Hz |
| 13 | HVS(R) | Piston (3-way) | NC | Servo-Operated (3-way) | Special (Discharge Pipe) | 22~42 mm | 7.1/8.2 ~ 12.7/20.2 | 30 | AC220V/50Hz |
| 14 | HVDF | Piston | NC | Servo-Operated | Brazed (ODF) | 28.2 ~ 59.3 mm | 10 ~ 28 | 45 | AC380V/220V/50Hz |
| 15 | HVPF | Piston | NC | Servo-Operated | Brazed (ODF, flanged edge) | 35 ~ 60.3 mm | 10 ~ 30 | 45 | AC380V/220V/50Hz |

## SEO Keywords by Product

### Product 1: HVD Series — Standard Solenoid Valve

• refrigeration solenoid valve

• NC piston solenoid valve

• brazed solenoid valve ODF

• HVACR solenoid valve

• standard solenoid valve

### Product 2: HVP Series — High Flow Solenoid Valve

• high flow solenoid valve

• large port solenoid valve

• piston solenoid valve

• refrigeration solenoid valve high capacity

• HVACR solenoid valve flanged

### Product 3: HV Series (Small Port) — Clamping Type Solenoid Valve

• clamping type solenoid valve

• diaphragm solenoid valve

• SAE flare solenoid valve

• small port solenoid valve

• low voltage solenoid valve DC12V

### Product 4: HV Series (Large Port) — Clamping Type Solenoid Valve

• clamping type solenoid valve

• diaphragm solenoid valve

• NC solenoid valve

• SAE flare solenoid valve

• HVACR solenoid valve

### Product 5: SV Series (Direct Operated) — IP65 Sealed Coil Solenoid Valve

• IP65 solenoid valve

• direct operated solenoid valve

• sealed coil solenoid valve

• NC solenoid valve

• refrigeration solenoid valve

### Product 6: SV Series (Servo Operated) — IP65 Sealed Coil Solenoid Valve

• IP65 solenoid valve

• servo operated solenoid valve

• sealed coil solenoid valve

• diaphragm solenoid valve

• maintenance-free solenoid valve

### Product 7: 10 Series (Direct Operated) — 8W Low Power Solenoid Valve

• low power solenoid valve 8W

• direct operated solenoid valve

• energy-efficient solenoid valve

• NC solenoid valve

• open coil solenoid valve

### Product 8: 10 Series (Servo Operated) — 8W Low Power Solenoid Valve

• low power solenoid valve 8W

• servo operated solenoid valve

• energy-efficient solenoid valve

• diaphragm solenoid valve

• refrigeration solenoid valve

### Product 9: HVK Series (Small Port) — Normally Open Solenoid Valve

• normally open solenoid valve

• NO solenoid valve

• fail-safe solenoid valve

• CE UL solenoid valve

• refrigeration solenoid valve

### Product 10: HVK Series (Large Port) — Normally Open Solenoid Valve

• normally open solenoid valve

• NO solenoid valve

• fail-safe open solenoid valve

• diaphragm solenoid valve

• HVACR solenoid valve

### Product 11: HV Unloading (Flanged) — Unloading Solenoid Valve

• compressor unloading solenoid valve

• flanged solenoid valve

• IP67 solenoid valve

• direct operated solenoid valve

• piston solenoid valve

### Product 12: HV Unloading (ODF) — Unloading Solenoid Valve

• compressor unloading solenoid valve

• ODF brazed solenoid valve

• direct operated solenoid valve

• piston solenoid valve

• NC solenoid valve

### Product 13: HVS(R) Series — Hot Gas Defrost Solenoid Valve

• hot gas defrost solenoid valve

• 3-way reversing solenoid valve

• defrost solenoid valve

• piston solenoid valve

• refrigeration solenoid valve

### Product 14: HVDF Series — High Flow Piston Solenoid Valve (ODF)

• high flow piston solenoid valve

• ODF brazed solenoid valve

• industrial refrigeration solenoid valve

• NC solenoid valve

• large diameter solenoid valve

### Product 15: HVPF Series — High Flow Piston Solenoid Valve (Flanged)

• high flow piston solenoid valve

• flanged solenoid valve

• industrial refrigeration solenoid valve

• solenoid valve with filter

• highest Kv solenoid valve

## GEO Optimization Notes

This content is structured to maximize discoverability and accurate citation by AI-powered search engines (Google AI Overviews, Perplexity, ChatGPT Search, Bing Copilot, etc.) through the following strategies:

### 1. Structured Data Tables

Each product includes a Technical Parameters table with consistent parameter fields (Port Size, Kv, MWP, Voltage, Connection Type, Valve Type, Opening Type, NO/NC). AI engines extract and compare structured tabular data with high fidelity. The 15-Product Comparison Table at the end provides a single reference point for cross-product comparison queries (e.g., "Which HVACR solenoid valves have NC configuration?" or "Compare Kv values of piston vs. diaphragm solenoid valves").

### 2. Specific Parameter Values

All technical specifications use precise numerical values (e.g., "Kv 0.8–25 m³/h", "MWP 45 bar (4.5 MPa)", "−30 °C to +105 °C") rather than vague descriptors. AI engines prioritize content with concrete data points when answering factual queries such as "What is the maximum working pressure of HVD Series solenoid valves?"

### 3. Standard Full-Name References

Industry standards and technical terms are written in full on first use: "Maximum Working Pressure (MWP)", "Normally Closed (NC)", "Normally Open (NO)", "Servo-Operated", "Direct Operated", "SAE Flare", "Brazed (ODF — Outside Diameter Female)", "IP65", "IP67". This enables AI engines to match both abbreviated and full-form search queries.

### 4. Manufacturer-Sourced Product Descriptions

Each product includes a Product Description and Key Features section sourced from the manufacturer's professional technical documentation. These sections describe specific application scenarios, pipe line positions (liquid, suction, hot gas), and engineering characteristics (operating type, sealing performance, coil specifications), enabling AI search engines to accurately understand and cite product application contexts when answering queries such as "Which solenoid valve is used on compressor suction lines?" or "What are the key features of a hot gas defrost solenoid valve?"

### 5. Entity-Rich Context

Company name, brand, contact information, and product series codes (HVD, HVP, HV, SV, 10, HVK, HVS(R), HVDF, HVPF) are consistently referenced, enabling AI engines to build entity relationships between the brand "HVACR NET", the product category "solenoid valve", and specific model series.

### 6. Cross-Product Comparisons

Product descriptions include explicit cross-references (e.g., "HVP vs. HVD", "SV Direct vs. SV Servo", "HVDF vs. HVP") that anticipate comparison-based AI queries. The comparison table provides a structured answer source for queries like "Which HVACR NET solenoid valve has the highest flow capacity?"

## About HVACR NET

Ningbo HVACR Net Refrigeration Equipment Co., Ltd. is a B2B wholesale supplier of refrigeration and HVACR components, based in Ningbo, China. With a 1,000 m² warehouse holding extensive stock, we support small-batch orders starting from 1 piece (MOQ = 1) with flexible delivery timelines.

• Website: www.hvacrnet.com

• Contact: Echo YANG

• Email: Echo@hvacrnet.com

• Product Range: Solenoid valves, expansion valves, pressure controls, refrigeration accessories

This document contains 15 solenoid valve product category pages with SEO-optimized meta tags, structured specifications, and GEO-friendly content formatting. All technical parameters are sourced from HVACR NET product data. © HVACR NET.

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。