# Thermostatic Expansion Valves — Category Page

Meta Title: Refrigeration Thermostatic Expansion Valves | Types & Selection Guide (58 chars)

Meta Description: Compare 5 types of thermostatic expansion valves—heavy-duty, universal, replaceable orifice, bi-directional, and valve cores. Select by refrigerant, capacity, and connection type. (155 chars)

## Refrigeration Thermostatic Expansion Valves

Five TXV series covering 0.18–52 TR for R22, R404A/R507, R134a, and R410A refrigerants. From heavy-duty industrial valves (TRF) to replaceable-orifice service valves (TF) and bi-directional heat pump valves (TQR). ODF solder and SAE flare connections, internal or external equalization.

| # | Product | Series | Refrigerant | Capacity Range | Connection | Equalization | Orifice | Models |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Heavy-Duty TXV (SAE Flare) | TRF | R22/R404A/R134a/R410A | 1.5–52 TR (5–182 kW) | SAE Flare | External | Fixed | 82 |
| 2 | Universal TXV (ODF/SAE) | TER | R22/R404A/R134a/R410A | 1.5–13 TR (5–45 kW) | ODF/SAE | Internal/External | Fixed | 37 |
| 3 | Universal TXV Replaceable Orifice | TF | R22/R404A/R134a/R410A | 0.18–5.6 TR (0.64–19.7 kW) | SAE/ODF | Internal/External | Replaceable (0#–6#) | 8 |
| 4 | Bi-Directional TXV (Heat Pump) | TQR | R134a | 1.5–10 TR (5–37 kW) | SAE Flare | External | Fixed | 8 |
| 5 | Replaceable TXV Orifice | TF-Core | Universal | 0.25–5.6 TR (0.90–19.7 kW) | N/A | N/A | 0#–6# | 7 |

Product page links to be added after website structure is finalized.

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。