# Solenoid Valves — Category Page

Meta Title: Refrigeration Solenoid Valves | Types & Selection Guide (55 chars)

Meta Description: Compare 15 types of HVACR solenoid valves—piston, diaphragm, normally open, normally closed, direct and servo operated. Find the right valve by port size, Kv, and voltage. (155 chars)

## Refrigeration Solenoid Valves

15 solenoid valve variants across 10 series, covering port sizes 1/4" to 2-1/8" (up to 60 mm for industrial models). Configurations include NC/NO, direct/servo-operated, piston and diaphragm structures.

| # | Product | Series | Structure | NO/NC | Opening | Connection | Port Range | Kv (m³/h) | MWP (bar) | Voltage | Models |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Standard Solenoid Valve (ODF, NC) | HVD | Piston | NC | Servo | Brazed (ODF) | 3/8"~1-5/8" | 0.8~25 | 45 | AC380/220V | 8 |
| 2 | High Flow Solenoid Valve, Flanged ODF | HVP | Piston | NC | Servo | ODF (flanged) | 1-1/8"~2-1/8" | 10~28 | 45 | AC380/220V | 4 |
| 3 | Clamping Type Solenoid Valve, Small Port | HV-S | Diaphragm | NC | Servo | SAE/ODF | 1/4"~3/8" | 0.2~0.27 | 45 | AC380/220/110/24V, DC12V | 4 |
| 4 | Clamping Type Solenoid Valve, Large Port | HV-L | Diaphragm | NC | Servo | SAE/ODF | 3/8"~1-1/8" | 0.8~10 | 45 | AC380/220/110/24V, DC12V | 14 |
| 5 | IP65 Sealed Solenoid Valve, Direct Operated | SV-D | Diaphragm | NC | Direct | SAE/ODF | 1/4"~3/8" | 0.2~0.27 | 45 | AC380/220/110/24V, DC12V | 4 |
| 6 | IP65 Sealed Solenoid Valve, Servo Operated | SV-S | Diaphragm | NC | Servo | SAE/ODF | 3/8"~7/8" | 0.8~5.7 | 45 | AC380/220/110/24V, DC12V | 9 |
| 7 | Low Power Solenoid Valve 8W, Direct Operated | 10-D | Diaphragm | NC | Direct | SAE/ODF | 1/4"~3/8" | 0.2~0.27 | 45 | AC380/220/110/24V, DC12V | 4 |
| 8 | Low Power Solenoid Valve 8W, Servo Operated | 10-S | Diaphragm | NC | Servo | SAE/ODF | 3/8"~3/4" | 0.8~2.6 | 45 | AC380/220/110/24V, DC12V | 8 |
| 9 | Normally Open Solenoid Valve, Small Port | HVK-S | Diaphragm | NO | Servo | SAE/ODF | 1/4"~3/8" | 0.2~0.8 | 45 | AC380/220/110/24V, DC12V | 6 |
| 10 | Normally Open Solenoid Valve, Large Port | HVK-L | Diaphragm | NO | Servo | SAE/ODF | 1/2"~1-1/8" | 0.8~10 | 45 | AC380/220/110/24V, DC12V | 12 |
| 11 | Compressor Unloading Solenoid Valve, Flanged | HV-U(F) | Piston | NC | Direct | Flanged | Flange mount | 0.27 | 45 | AC220V | 1 |
| 12 | Compressor Unloading Solenoid Valve, ODF | HV-U(O) | Piston | NC | Direct | Brazed (ODF) | 3/8" | 0.2 | 45 | AC220V | 1 |
| 13 | Hot Gas Defrost Solenoid Valve, 3-Way | HVS(R) | Piston (3-way) | NC | Servo (3-way) | Special | 22~42 mm | 7.1~20.2 | 30 | AC220V | 4 |
| 14 | High Flow Piston Solenoid Valve, ODF | HVDF | Piston | NC | Servo | Brazed (ODF) | 28.2~59.3 mm | 10~28 | 45 | AC380/220V | 5 |
| 15 | High Flow Piston Solenoid Valve, Flanged | HVPF | Piston | NC | Servo | ODF (flanged) | 35~60.3 mm | 10~30 | 45 | AC380/220V | 5 |

Product page links to be added after website structure is finalized.

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。