# Ball Valves — Category Page

Meta Title: Refrigeration Ball Valves | Types & Selection Guide (51 chars)

Meta Description: Compare 5 types of refrigeration ball valves—electric, manual full bore, reduced bore, CO₂, and NPT threaded. Select by port size, pressure rating, and refrigerant compatibility. (155 chars)

## Refrigeration Ball Valves

Five ball valve series for refrigeration and HVAC systems — from standard manual ODF valves to 120 bar CO₂-rated and electrically actuated models.

| # | Product | Series | Drive | Bore | Connection | Port Range | Kv (m³/h) | MWP (bar) | Refrigerant | Temp Range | Models |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Electric Ball Valve (Full Bore) | DQF | Electric | Full | Brazed (ODF) | 3/8"~3-1/8" | 5.7~200 | 45 | HCFC, HFC | −40~+120°C | 11 |
| 2 | Manual Ball Valve (Full Bore) | HBC | Manual | Full | Brazed (ODF) | 1/4"~3-1/8" | 2~700 | 45 | HCFC, HFC | −40~+120°C | 16 |
| 3 | Manual Ball Valve (Reduced Bore) | QFT | Manual | Reduced | Brazed (ODF) | 1/4"~2-1/8" | N/A | 45 | R22, R134a, R404A, R407C, R410A | −40~+120°C | 10 |
| 4 | CO₂ Ball Valve (Full Bore) | QF-CO2 | Manual | Full | Brazed (ODF) | 1/2"~2-1/8" | 10~200 | 120 | CO₂ (R744) | −50~+150°C | 8 |
| 5 | Threaded Ball Valve (NPT) | GFM-S | Manual | N/A | NPT Threaded | NPT 1/4~1 | N/A | 120 | R22, R134a, R404A, R407C, R410A | −40~+120°C | 5 |

Product page links to be added after website structure is finalized.

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。