# Sight Glass Category Comparison Page

Meta Title: Refrigeration Sight Glasses | Types & Selection Guide

Meta Description: Compare 5 types of refrigeration sight glasses—moisture indicator and oil level models. Select by connection, port size, and indicator function.

Refrigeration sight glasses provide visual monitoring of refrigerant flow, moisture content, and oil levels in HVACR systems.

| # | Product | Function | Connection | Port Range | Moisture Indicator | MWP | Temp Range | Models |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Moisture Indicator Sight Glass (Brazed ODF) | Moisture & Flow Indicator | Brazed (ODF) | 1/4"–1-1/8" | Yes | 45 bar | -40~+80°C | 7 |
| 2 | Moisture Indicator Sight Glass (SAE Flare) | Moisture & Flow Indicator | SAE Flare (UNF) | 1/4"–3/4" | Yes | 45 bar | -40~+80°C | 5 |
| 3 | Moisture Indicator Sight Glass (SAE Flare, M/F) | Moisture & Flow Indicator | SAE Flare, M/F | 1/4"–5/8" | Yes | 45 bar | -40~+80°C | 4 |
| 4 | Moisture Indicator Sight Glass (NPT Threaded) | Moisture & Flow Indicator | NPT Threaded | 3/4" | Yes | 45 bar | -40~+80°C | 1 |
| 5 | Oil Level Sight Glass (G Thread) | Oil Level Indicator | G Thread (BSPP) | 3/4" | No | 45 bar | -40~+80°C | 1 |

本内容由 Coze AI 生成，请遵循相关法律法规及《人工智能生成合成内容标识办法》使用与传播。